## Instructions
Step 1
Install the sqlite open database drivers on your machine if you have not already done so.
http://www.ch-werner.de/sqliteodbc/
Most AEI computers should use the x64 bit version:
Step 2
Add simulation names and eplusout.sql file locations to Sources table.
Step 3
User your windows credentials for the ODBC driver.
Step 4
Insert a PivotTable or PivotChart.
Step 5
Select 'Use an external data source'.
Step 6
Select 'Query - TabularDataWithStrings'.
Step 7
Add following parameters to the PivotTable (see example):
Filters
TableName
ReportName
Columns
ColumnName
Rows
Simulation
RowName
Values
IP Value
Step 8
Filter by report and table of interest

## Sources
Name | Location
Pavillion | C:\Users\bmcquillan\Documents\Local Working Documents\CWT\Reporting Test Model\_Test SQLs\eplusout.sql
Patient VAV
Core&Shell
Patient ACB
Chiller Model
HRC CUP
SD Pavillion
Series CUP

## Example Tabular Outputs
TableName | All
ReportName | (Multiple Items)
Sum of IP Value |  | ColumnName
Simulation | RowName | COOLING:ELECTRICITY | EXTERIORLIGHTS:ELECTRICITY | FANS:ELECTRICITY | HEATING:ELECTRICITY | HEATING:GAS | INTERIOREQUIPMENT:ELECTRICITY | INTERIOREQUIPMENT:GAS | INTERIORLIGHTS:ELECTRICITY | PUMPS:ELECTRICITY | REFRIGERATION:ELECTRICITY | WATERSYSTEMS:GAS | Grand Total
Pavillion | January | 518410008 | 20988720 | 80665794 | 204334.764 | 117230628 | 290189436 | 198190776 | 30606180 | 7611966 | 17094525.6 | 41886242.4 | 1323078610.764
| February | 465744816 | 18633888 | 72879585.6 | 198381.324 | 140309688 | 262629180 | 179368236 | 27775546.8 | 7278307.92 | 9402358.8 | 38044188 | 1222264176.444
| March | 520878600 | 19504152 | 81187099.2 | 135014.16 | 111392844 | 294242136 | 200958936 | 31623478.8 | 8100925.44 | 16595403.6 | 43540502.4 | 1328159091.6
| April | 519500208 | 16893360 | 75759799.2 | 25692.1305 | 40231318.8 | 275598768 | 188226348 | 28306332 | 12217918.8 | 31365054 | 38848660.8 | 1226973459.7305
| May | 548117484 | 16637400 | 79374049.2 | 18757.8576 | 16121498.4 | 294242136 | 200958936 | 31623478.8 | 15412584 | 38360156.4 | 43578043.2 | 1284444523.8576
| June | 545843232 | 15357600 | 76074440.4 | 10259.7656 | 758363.976 | 283704168 | 193762668 | 30340834.8 | 19459596 | 43536331.2 | 41737406.4 | 1250584900.5416
| July | 557279904 | 16842168 | 77385714 | 7932.3129 | 718228.5 | 286135788 | 195423564 | 29588976 | 19887902.4 | 45196279.2 | 40731768 | 1269198224.4129
| August | 556945260 | 17456472 | 78626835.6 | 7564.0049 | 995371.56 | 294242136 | 200958936 | 31623478.8 | 18359347.2 | 45094369.2 | 43642128 | 1287951898.3649
| September | 528946080 | 17763624 | 75305896.8 | 7453.1909 | 2185234.8 | 279651468 | 190994508 | 29323536 | 15042769.2 | 41683844.4 | 40408879.2 | 1221313293.5909
| October | 530757708 | 19913688 | 79343808 | 51883.9831 | 60616352.4 | 290189436 | 198190776 | 30606180 | 10373774.4 | 27276614.4 | 42066362.4 | 1289386583.5831
| November | 505007184 | 21449448 | 78226400.4 | 137048.568 | 114580020 | 283704168 | 193762668 | 30340834.8 | 7682620.44 | 15663804 | 41742620.4 | 1292296816.608
| December | 509387892 | 22217328 | 80156812.8 | 411177.936 | 144475200 | 286135788 | 195423564 | 29588976 | 7464855.36 | 13107048 | 40501498.8 | 1328870140.896
Pavillion Total |  | 6306818376 | 223657848 | 934986235.2 | 1215499.9976 | 749614748.436 | 3420664608 | 2336219916 | 361347832.8 | 148892567.16 | 344375788.8 | 496728300 | 15324521720.3936
Grand Total |  | 6306818376 | 223657848 | 934986235.2 | 1215499.9976 | 749614748.436 | 3420664608 | 2336219916 | 361347832.8 | 148892567.16 | 344375788.8 | 496728300 | 15324521720.3936
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## Ex. 2
TableName | All
ReportName | ClimaticDataSummary
Sum of IP Value |  | ColumnName
Simulation | RowName | Daily Temperature Range | Humidity Value | Maximum Dry Bulb | Wind Direction | Wind Speed | Grand Total
Pavillion | DAVIS MONTHAN AFB ANN CLG .4% CONDNS DB=>MWB | 13.3 | 18.72 | 108.104 | 310 | 945.12 | 1395.244
| DAVIS MONTHAN AFB ANN CLG .4% CONDNS ENTH=>MDB | 13.3 | 71000 | 85.28 | 310 | 945.12 | 72353.7
| DAVIS MONTHAN AFB ANN HTG 99.6% CONDNS DB | 0 | 0.5 | 32.9 | 140 | 413.49 | 586.89
| OCT DD | 13.3 | 15.94 | 99.608 | 310 | 945.12 | 1383.968
| SEP DD | 13.3 | 19 | 101.894 | 310 | 945.12 | 1389.314
Pavillion Total |  | 53.2 | 71054.16 | 427.786 | 1380 | 4193.97 | 77109.116
Grand Total |  | 53.2 | 71054.16 | 427.786 | 1380 | 4193.97 | 77109.116
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## Example Graphic-Setup
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## Example Formatted
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## Sheet5
SI Units | IP Units | Conversion Rate
GJ | kBtu | 947.817
MJ/m2 | kBtu/sf | 0.08806
m2 | sf | 10.76
m3 | cf | 35.31
m3/m2 | cf/sf | 3.281
% | % | 1
deltaC | °F | 1
Hours | hrs | 1
deg | deg | 1
m | ft | 3.281
hrs | hrs | 1
W/m2 | W/sf | 0.0929
m2 per person | sf/per | 10.76
W | W | 1
m3/s | cfm | 2119
C | °F | 1
W/K | W/K | 1
m3/s-m2 | cfm/sf | 196.9
kgWater/kgDryAir | lbWater/lbDryAir | 1
m/s | fpm | 196.9
W/m2-K | Btu/sf-°F | 0.1761
hr | hr | 1
W/C | W/C | 1
W/W | W/W | 1
pa | psi | 0.000145
W-s/m3 | W/cfm | 0.0004719
kgWater/kgAir | lbWater/lbDryAir | 1
KGWATER/KGDRYAIR | lbWater/lbDryAir | 1
J/kg-K | J/kg-K | 1
kg/m3 | lb/cf | 0.06243
kg/s | lb/hr | 7937
J/KG-K | J/kg-K | 1
m3/s-person | cfm/per | 2119
ach | ach | 1
kg | lbs | 2.205
hr/wk | hr/wk | 1
$ | $ | 1
kW | kW | 1
J | Btu | 0.000948
kWh | kWh | 1
kBtu | kBtu | 1
kBtu/sf | kBtu/sf | 1
sf | sf | 1
cf | cf | 1
cf/sf | cf/sf | 1
% | % | 1
°F | °F | 1
hrs | hrs | 1
deg | deg | 1
ft | ft | 1
hrs | hrs | 1
W/sf | W/sf | 1
sf/per | sf/per | 1
W | W | 1
cfm | cfm | 1
°F | °F | 1
W/K | W/K | 1
cfm/sf | cfm/sf | 1
lbWater/lbDryAir | lbWater/lbDryAir | 1
fpm | fpm | 1
Btu/sf-°F | Btu/sf-°F | 1
hr | hr | 1
W/C | W/C | 1
W/W | W/W | 1
psi | psi | 1
W/cfm | W/cfm | 1
lbWater/lbDryAir | lbWater/lbDryAir | 1
lbWater/lbDryAir | lbWater/lbDryAir | 1
J/kg-K | J/kg-K | 1
lb/cf | lb/cf | 1
lb/hr | lb/hr | 1
J/kg-K | J/kg-K | 1
cfm/per | cfm/per | 1
ach | ach | 1
lbs | lbs | 1
hr/wk | hr/wk | 1
$ | $ | 1
kW | kW | 1
Btu | Btu | 1
~~$~~ | $ | 1
kBtu/ft2 | kBtu/ft2 | 1
1
ft2 | ft2 | 1
gal | gal | 1
gal/ft2 | gal/ft2 | 1
deltaF | °F | 1
ft3 | ft3 | 1
Btu/h-ft2 | Btu/h-ft2 | 1
ft2 per person | sf/per | 1
kBtuh | kBtuh | 1
gal/min | gal/min | 1
ft3/min | ft3/min | 1
ft3/min-ft2 | ft3/min-ft2 | 1
F | F | 1
Btu/h | Btu/h | 1
Btu/h-F | Btu/h-F | 1
lbWater/lbAir | lbWater/lbAir | 1
ft3-h/min-Btu | ft3-h/min-Btu | 1
ft2-h/Btu | ft2-h/Btu | 1
ft/min | ft/min | 1
Btu/h-ft2-F | Btu/h-ft2-F | 1
Btuh/Btuh | Btuh/Btuh | 1
Btu/W-h | Btu/W-h | 1
W-min/ft3 | W-min/ft3 | 1
W-min/gal | W-min/gal | 1
Btu/lbm-R | Btu/lbm-R | 1
lb/ft3 | lb/ft3 | 1
lb/s | lb/s | 1
ft3/min-person | ft3/min-person | 1
ACH | ACH | 1
therm | therm | 1
ton-hrs | ton-hrs | 1
ton | ton | 1
lb | lb | 1
$/unit energy | $/unit energy | 1
kWh/ft2 | kWh/ft2 | 1
kBtu/h | kBtu/h | 1
~~$~~/ft2 | ~~$~~/ft2 | 1

## IPTable
SI Units | IP Units | Conversion Rate
GJ | kBtu | 947.817
MJ/m2 | kBtu/sf | 0.08806
m2 | sf | 10.76
m3 | cf | 35.31
m3/m2 | cf/sf | 3.281
% | % | 1
deltaC | °F | 1
Hours | hrs | 1
deg | deg | 1
m | ft | 3.281
hrs | hrs | 1
W/m2 | W/sf | 0.0929
m2 per person | sf/per | 10.76
W | W | 1
m3/s | cfm | 2119
C | °F | 1
W/K | W/K | 1
m3/s-m2 | cfm/sf | 196.9
kgWater/kgDryAir | lbWater/lbDryAir | 1
m/s | fpm | 196.9
W/m2-K | Btu/sf-°F | 0.1761
hr | hr | 1
W/C | W/C | 1
W/W | W/W | 1
pa | psi | 0.000145
W-s/m3 | W/cfm | 0.0004719
kgWater/kgAir | lbWater/lbDryAir | 1
KGWATER/KGDRYAIR | lbWater/lbDryAir | 1
J/kg-K | J/kg-K | 1
kg/m3 | lb/cf | 0.06243
kg/s | lb/hr | 7937
J/KG-K | J/kg-K | 1
m3/s-person | cfm/per | 2119
ach | ach | 1
kg | lbs | 2.205
hr/wk | hr/wk | 1
$ | $ | 1
kW | kW | 1
J | Btu | 0.000948
kWh | kWh | 1
kBtu | kBtu | 1
kBtu/sf | kBtu/sf | 1
sf | sf | 1
cf | cf | 1
cf/sf | cf/sf | 1
% | % | 1
°F | °F | 1
hrs | hrs | 1
deg | deg | 1
ft | ft | 1
hrs | hrs | 1
W/sf | W/sf | 1
sf/per | sf/per | 1
W | W | 1
cfm | cfm | 1
°F | °F | 1
W/K | W/K | 1
cfm/sf | cfm/sf | 1
lbWater/lbDryAir | lbWater/lbDryAir | 1
fpm | fpm | 1
Btu/sf-°F | Btu/sf-°F | 1
hr | hr | 1
W/C | W/C | 1
W/W | W/W | 1
psi | psi | 1
W/cfm | W/cfm | 1
lbWater/lbDryAir | lbWater/lbDryAir | 1
lbWater/lbDryAir | lbWater/lbDryAir | 1
J/kg-K | J/kg-K | 1
lb/cf | lb/cf | 1
lb/hr | lb/hr | 1
J/kg-K | J/kg-K | 1
cfm/per | cfm/per | 1
ach | ach | 1
lbs | lbs | 1
hr/wk | hr/wk | 1
$ | $ | 1
kW | kW | 1
Btu | Btu | 1
~~$~~ | $ | 1
kBtu/ft2 | kBtu/ft2 | 1
1
ft2 | ft2 | 1
gal | gal | 1
gal/ft2 | gal/ft2 | 1
deltaF | °F | 1
ft3 | ft3 | 1
Btu/h-ft2 | Btu/h-ft2 | 1
ft2 per person | sf/per | 1
kBtuh | kBtuh | 1
gal/min | gal/min | 1
ft3/min | ft3/min | 1
ft3/min-ft2 | ft3/min-ft2 | 1
F | F | 1
Btu/h | Btu/h | 1
Btu/h-F | Btu/h-F | 1
lbWater/lbAir | lbWater/lbAir | 1
ft3-h/min-Btu | ft3-h/min-Btu | 1
ft2-h/Btu | ft2-h/Btu | 1
ft/min | ft/min | 1
Btu/h-ft2-F | Btu/h-ft2-F | 1
Btuh/Btuh | Btuh/Btuh | 1
Btu/W-h | Btu/W-h | 1
W-min/ft3 | W-min/ft3 | 1
W-min/gal | W-min/gal | 1
Btu/lbm-R | Btu/lbm-R | 1
lb/ft3 | lb/ft3 | 1
lb/s | lb/s | 1
ft3/min-person | ft3/min-person | 1
ACH | ACH | 1
therm | therm | 1
ton-hrs | ton-hrs | 1
ton | ton | 1
lb | lb | 1
$/unit energy | $/unit energy | 1
kWh/ft2 | kWh/ft2 | 1
kBtu/h | kBtu/h | 1
~~$~~/ft2 | ~~$~~/ft2 | 1

## Tasks
Task | Description